[ Your company name and logo ] Replace this box with your company details before issuing.

# Hot Works Permit

A printable permit for welding, grinding, cutting and other spark or flame work. Issue it before work starts; it is valid only for the location and time stated. Add your company details above.

## Permit details

| Company |  |
| --- | --- |
| Site / exact location |  |
| Permit number |  |
| Date |  |
| Valid from (time) |  |
| Valid to (time) |  |

## Work details

| Description of hot work |  |
| --- | --- |
| Equipment / process |  |
| Person carrying out the work |  |
| Supervisor |  |

## Precautions before work starts

All applicable precautions must be confirmed before the permit is issued.

| Precaution | Done (Y/N) | Notes |
| --- | --- | --- |
| Combustible materials removed or protected within 10 m |  |  |
| Floors swept clean / combustible floors covered |  |  |
| Flammable liquids and gases removed from the area |  |  |
| Wall and floor openings covered |  |  |
| Suitable fire extinguisher(s) to hand |  |  |
| Fire blanket available |  |  |
| Fire detection / sprinklers considered (isolate only if authorised) |  |  |
| Screens in place to protect others and contain sparks |  |  |
| LEV / ventilation for fume in place |  |  |
| Gas cylinders secured; flashback arrestors fitted |  |  |

## Fire watch

| Fire watch during work (name) |  |
| --- | --- |
| Continuous fire watch maintained (Y/N) |  |
| Final fire check — at least 60 minutes after work (time) |  |
| Final check carried out by |  |

## Authorisation

| Issued by (name) |  |
| --- | --- |
| Issued by (signature / time) |  |
| Accepted by operative (name) |  |
| Accepted by operative (signature / time) |  |

## Close-out / cancellation

| Area checked and left safe (Y/N) |  |
| --- | --- |
| Time work completed |  |
| Final fire check time |  |
| Signed |  |

Tired of re-typing this for every job? Fabora RAMS turns templates like this into reusable, editable records you build in minutes — with saved hazard, COSHH, PPE and equipment libraries, branded PDF export, share links and revision control, instead of editing the same Word file every time. Start free (no card) at faboraplatform.com · This is a practical drafting aid. Final review, suitability and approval remain with your business.